| List of Supplies Needed Daily for Specimen Collection **Includes enough supplies for 7-8 households (plus extra supplies) |  |
| --- | --- |
| Supply Item | Quantity Required |
| Backpack | 1 |
| Blue Top Vacutainers | 12 |
| Purple Top Vacutainers | 15 |
| Tourniquet | 4 (can be reused) |
| 23G Needles | 15 |
| Lancets | 15 |
| Vacutainer Barrels | 4 (can be reused) |
| Sharps container | 1 Box |
| Alcohol pads | 30 |
| Gauze pads | 30 |
| Absorbent pads | 2 (can be reused if clean) |
| Biohazard bags | 2 |
| Ziploc bags | 1 Large (for the Specimen Control Form) and 1 Small (for Cryovial labels) |
| Labels | 12 sets pre-printed (will be transferred from Interviewer) |
| Cold box | 1 |
| Frozen Gel Packs | 4-5 for cold box |
| Bubble Wrap | 1 Small Piece (to protect specimens from frozen gel packs inside cold box) |
| Digital Thermometer | 1 |
| HemoCue 301 | 1 |
| HemoCue 301 Cuvettes | 1 container (with a minimum of 15 cuvettes) |
| Batteries | 4 (Extra for HemoCue 301) |
| Vacutainer Rack for Cold Box | 1 |
| Cryovial Box | 1 (used to hold vacutainers during specimen collection) |
| Fatty Snacks for MRDR | 3 |
| MRDR Doses + syringes | 3 doses (syringes will aid in oral administration of the dose) |
| Kimwipes | 1 Box |
| Band-aids | 30 |
| Gloves S, M, L | 1 Box of correct size (with a minimum of 30 pairs) |
| Malaria Test Kits and Buffer | 12 Kits + 1 bottle buffer (enough for 12 tests) |
| H. pylori Kits and Buffer | 12 Kits + 1 bottle buffer (enough for 12 tests) |
| Timer | 2 |
| Clip Board | 1 |
| Log Forms | Specimen Control Form (1), Referral Slips (12 each for Malaria and Anemia), and Referral Logs (2 each for Malaria and Anemia) |
| Pens | 2 |

| List of Supplies Needed Daily for Specimen Processing **Includes enough supplies for 16-17 households (plus extra supplies) |  |
| --- | --- |
| Supply Item | Quantity Required |
| Backpack | 1 |
| Absorbent pads | 4 |
| Biohazard bags | 4 |
| Ziploc bags | 1 Large (for the Specimen Control Form) and 1 Medium (for PCR Tubes) |
| Labels | 12 sets pre-printed |
| Cold box | 1 |
| Portable Freezer | 1 |
| Frozen Gel Packs | 28 Frozen Gel Packs (4 for Cold Box and 24 for Portable Freezer |
| Bubble Wrap | 1 Small Piece (to protect specimens from frozen gel packs inside cold box) |
| Digital Thermometer | 1 |
| Vacutainer Rack | 1 |
| Cryovial Box | 12 |
| Cyrovials | 120 |
| PCR Tubes | 20 |
| 50mL Tube | 1 Tube |
| Vial containing Ascorbic Acid (0.5g) | 1 Vial |
| Bottled Water | 1 Bottle (for 1% ascorbic acid solution) |
| Pipettes | 2 (1 of each volume/type) |
| Pipette tips | 2 boxes (1 of each volume) |
| Disposable Transfer Pipettes | 60 |
| Kimwipes | 1 Box |
| Gloves S, M, L | 1 Box of correct size (with a minimum of 30 pairs) |
| Portable Centrifuge | 1 |
| Clip Board | 1 |
| Forms | Specimen Control Form (1) |
| Pens | 2 |